# VIROLOGY MANUAL OF THE DEPARTMENT OF NEUROVIROLOGY, NIMHANS, BANGALORE 560029

# OF

# INFECTIONS OF THE NERVOUS

# SYSTEM

Dr.V.Ravi, Dr.Anita Desai and Dr.S.N.Madhusudana

# Department of Neurovirology

# TECHNIQUES

- Cell cultures

- Virus growth and titration

- Methods for viral antigen detection

- Methods for viral antibody detection

I  CELL CULTURE TECHNIQUES

Subculture of  a cell line

- Aedes albopictus  C6/36       (  mosquito gut epithelium  )      cell   line

- Discard    supernatant   fluid    from   a   confluent   monolayer   of  C6/36 (Aedes albopictus )  bottle cultures.

- Add  3  to  5  ml  trypsin  (Pre-warmed  at  37  C  )  to  each  culture  bottle.

- Leave  the bottle  at  room  temperature  for 3-5  mins.

- Discard   the  trypsin.

- Add  5ml  of growth  medium  to   the   bottle  and   gently  detach  the cells  from  the  surface  with  the  help  of   a  pipette.

- Add  the  required  amount  of  medium  (split  ratio  for  this  cell  line  is  1: 5)  and  distribute  the  diluted  cell  suspension  to  fresh  flasks/bottles.

- Incubate  at  room  temperature  for 3-7  days.

Primary cell culture technique

Chick  embryo  fibroblastic  culture  :

The  development  of  routine  cell  culture  methods  has  reduced   the  importance  of   eggs  but  they  are  still  valuable  for  the  isolation  of  many  important  viruses  and  for  the  production  of  vaccines. Fertile  eggs  must  be  obtained   ideally  from  a  specific  pathogen  free  flock,  should  be  clean,  preferably  unwashed  and  pale  shelled  to  simplify  candling.  After  laying  they  have  to  be  incubated  for  10  days  at  37 C With  40-70%  humidity  and  good  aeration  and turned  twice  daily.  After  6  days  they  are  candled,  infertile  and  dead  eggs  are discarded. On  the  day  of  culture  those  with  satisfactory  development  of  chorioallantioic  blood  vessels  and  showing  embryonic  movement  are  marked  with  pencil  to  indicate  the  limits  of  the  air  sac.

Materials  required

- Embryonated  eggs  preferably  10-12  days  old.

- Phosphate  buffer  saline  (pH  7.2) .

- 0.25%  trypsin  in  PBS.

- Growth  medium  (MEM,  supplemented  with  10%  bovine  serum)

- Forceps,  scissors,  egg  cup,  petri  dishes,  filtration  unit,  silicone/teflon

- Coated  magnet,  solution  bottles  and  culture  flasks.

Procedure:

- Candle  and  select  10-11  day  old  eggs.

- Place  the  egg  in  an  egg  cup,  air  sac  upwards  and  wipe  clean  with spirit.

- Break  the  shell  with  the  sharp  end  of  a  sterile  forceps,  and  lift  the  membrane.  With  a  bent  forceps  pick  up  the embryo  and  place  it  in  a  petri  dish  containing  PBS.

- Dissect  the  embryo  in  the  dish,  remove  and  discard  the  head,  limbs  and  viscera.  Pick  up  the  fibroblastic  tissue  and  transfer  into  a  wide  neck  bottle  containing  PBS.

- Mince  the  tissue  finely  with  scissors,  and  wash  minced  tissue  several  times  in  PBS  to  remove  blood  cells  and  debris.

- Transfer  tissue  to  transfusion  bottle  containing  sterile  silicone  covered  magnet  and  50ml  of 0.25 %  trypsin  solution  and  stopper  securely.

- Trypsinize  on  magnetic  stirrer  unit  37  C  for  30  mins  :  avoid  frothing  of  contents.

- The  tissue  will  disintegrate,  forming  a  turbid  suspension  of  cells.  Filter  the  suspension  through  sterile  gauze  and  centrifuge  filtrate  for  10min  at  1000  rev/min.

- Discard  supernatant  and  resuspend  cells  in  100  ml  growth  medium.

- Centrifuge  once  again  and  resuspend  the  cells  in  fresh  medium.

- Dilute  0.9ml  suspension  with  0.1ml  trypan  blue  solution  and  count  cells  in  haemocytometer.

- Adjust  concentration  to  1  10   cells  /  ml  growth  medium  and  dispense  into  tubes  or  bottles.

- Incubate  at  37 C  until  monolayer is formed  (2-3  days).

- When  cells  have  formed a monolayer,  remove  growth  medium,  inoculate  virus,  add  maintenance  medium  (MEM,  Eagles  base  with  1-2%  bovine  serum)  and  incubate.

Media  preparation  for  cell  culture

Dehydrated  Tissue  Culture  Media

- Take  900ml  of  triple  distilled  water.

- Add  the  contents  of  one  unit  vial  of  dehydrated  media  to  the  water  at  room  temperature   with  stirring  until  dissolved.

- Rinse  the  vial  with  a  small  amount  of  triple  distilled  water  to  remove  traces  of  powder  and  add  to  the  above  solution.

- Add  2.2  grams  of  sodium  bicarbonate  or  HEPES  Buffer.

- Adjust  the  pH  if  required  between  7.1  to  7.4  using  1N  HC1  or  1N  NaOH  or  by  bubbling  carbon  dioxide.  Note  that  pH  tends  to  rise  during  filtration  and  hence  adjust  it  0.2  to  0.3  units  below  the  final  desired  pH.

- Make  up  final  volume  to  1000ml  with  triple  distilled  water.

Sterilization  of  tissue  culture  Media

- Sterilize  the  media  by  filtering  through  sterile  membrane  filter(sterilized  by  autoclaving  at  15  lbs  for  15  min  &  121 C )  of  0.22 micron  or  less  porosity  using  positive pressure  to  minimise  loss of  carbon  dioxide.

Antibiotics

- The  following  antibiotics  can  be  aseptically  added  to  litre  of  media  :

- Amphotericin                      		2.5  mg

- Gentamycin	  (50mg/ml.  Solution)    1.0  ml

- Benzyl  Penicillin 			 10000  units

- Streptomycin 			 100  mg

Sterility  check

Add  0.5  -  1.0 ml  of  filtered  media  to  a  tube  containing  sterile  thioglycolate  broth  and  incubate  at  37 C  for  48  hours.  If  the  broth  is  clear  after  48  hours  the  media  is  sterile.

TVG  (Trypsin  Versene  Glucose)

- TVG  consists  of   the  following  components  in  1X  PBS:

- Trypsin   0.1%

- Versene  0.2%

- Glucose  0.05%

Stock  solutions for TVG

1). 10x  PBS

NaCl              80.00  gms

KCl                2.00   gms

Na2H P04    14.42   gms

KH2 PO4       2.00  gms

Dist.H2O      upto 1 litre

To  prepare 1X  PBS  -  add  100 ml  of  1X  PBS  to  900  ml  of  D/W.

- 2%  TRYPSIN

Trypsin           2.00  gms

D/W               upto  100ml

Stir  the  above  solution  on   a   magnetic  stirrer  for  4h   or  O/N  at  4C.   Sterilize  by

filtering  through  sterile  membrane  filter  of  0.22u  pore  size. A  sterility check  can  be

done  before  using  the  solution.

3)   0.2 %  VERSENE

EDTA            200   mg

D/W               100   ml

Sterilize  by  autoclaving  at  15  lbs  &  121C  for  15  minutes.

- 10 %  GLUCOSE

Glucose        10.00  gms

D/W             upto   100 ml

Sterilize  by  autoclaving  at  15  lbs  &  121 C  for  15  minutes.

- 1 %  PHENOL  RED

Phenol  Red   1.00  gm

D/W             upto   100ml

Preparation  of  working  solution  of  TVG

Prepare  840ml  of  1X  PBS  and  to  this  add  1.0 ml  of  1%  phenol  red  (indicator).  Sterilize  by  autoclaving  at  15lbs  and  121C  for  15  minutes.  Cool  this  sterile  solution  and  then  add  the  following  sterilized  solutions  to  it :

Trypsin  2.0%       50 ml

Versene  0.2%     100 ml

Glucose  10.0%       5 ml

Do  a  sterility  test  as  mentioned  above  before using  this  TVG.

II  WASHING  OF  GLASSWARE  FOR  TISSUE  CULTURE  WORK

- Autoclave  all  glassware  before  washing,  at  120C,  15psi  for  20min.

- The  outside  surface  of  glassware  can  be  cleaned  with  Vim  and  inside  with  only  Teepol  and  scrubbed  with  a  clean  brush , which  is  only  meant  for  brushing  glassware.  Wash  in  tap water  and  leave  in  5%  Teepol  solution  overnight  (can  be  boiled)

- Next  morning  wash  in  tap  water  at   least  20  times  and  leave  in  10%  HC1  overnight.

- Next  day  wash  in  tap  water  and  rinse  in  2  changes  of  demineralised  distilled  water  at  least  10  times  in  each,  leave  in  third  bucket  of  demineralised  distilled  water  overnight.

- Take  out  next  day,  dry  it  in  hot  air  oven,  pack  and  sterilize.

Packing  and  sterilization

Pipettes:	        Wrap  the  pipette  with  brown  paper  and  sterilize  in  a

hot   air  oven  at  160C  for  two  hours.

Petridishes :            Wrap  the  Petri  dishes  in  brown  paper  and  tie  with

Twine  and  sterilize  by  hot  air  oven  at  160C  for

two  hours.

Culture & media  storage  bottles,  measuring  cylinders  and  beakers :

Cover  mouth  with  aluminum  foil,  over  which  brown  paper  is

tied  with  twine  at  the  neck  and  sterilize  in  a  hot

oven  at  160C.  Plastic  measuring cylinders  and  beakers

are  autoclaved  at  120C,  psi  for  30min.

Plastic  centrifuge  tubes,  Eppendorf  tubes,  screw cap  vials & tubes,  :

Arrange  neatly  the  following  items  in  a  plastic  or

glass  beaker  and  cover   the  mouth  with  aluminum  foil  and

over  that  wrap  brown  paper  tied  with  twine  at  the  neck.

Sterilize  by  autoclaving  at  120C,  15  psi  for  30min.

Coverslips:            Coverslips  are   put  into  a  Petri  dish , which  is  covered   with brown

paper  and  tied  with  twine.  Sterilize  in  a  hot  air  oven  at  160C  for

two  hours.

Filter  Apparatus:  Wrap  filter  apparatus  first  with  aluminum  foil   and  then  with  brown

paper,  tie  it  with  twine  tightly.  Sterilize  by  autoclaving  at  120 C,

15  psi  for  30min.

Solutions:             Plug  the  mouth  of  the  container  with  cotton,  wrap  it  with  brown

paper  and  tie  it  with  twine.  Sterilize  by  autoclaving  at 121 C ,  15

psi  for  20  min.

I I I   DEMONSTRATION  OF  CYTOPATHIC  EFFECT  ( CPE )

- HSV  -  Demonstration  of  cytopathic  effect  (CPE)  in  Vero  cell  line.

- Grow  Vero  cells  to  confluence  in  Nunc  flasks  /  24  well  dishes.

- Discard  the  growth  medium.

- Infect  the  cell  line  with  HSV-1  suspension  at  an  MOI  (multiplicity  of  infection)  of  1.

- Adsorb  the  virus  for  30  minutes  at  37 C .

- Add  the  maintenance  medium  -  5ml  for  Nunc  flask/10-15ml  for  Milk  dilution  bottle/100ml  for  a  Roux  bottle.

- Incubate  the  bottles  at  37C  in  CO  incubator.

- Observe  daily  for  CPE  both  in  the  morning  and  in  the  evening.

- HSV  produces  CPE  by  24-48  h.  Two  forms  of  CPE  are  observed.  The  most  common  begins  with  cytoplasmic  granulation  after  which  the  cells  become  enlarged  or  ballooned.  These  macrocytes  then  become  rounded,  take  on  a  refractile  appearance,  and  undergo  lytic  degeneration.  The  second  type  of  CPE  is  formation  of  multinucleated giant  cells.

Measles  virus  :  Demonstration  of  CPE  in  Vero  cell  line

- Grow  Vero  cells  to  form  a  monolayer  in  Nunc  flasks/ Milk  dilution bottles/Roux bottle.

- Discard  the  growth  medium.

- Infect  the cell line  with  measles  virus  suspension  at  an MOI(multiplicity of infection) of  1.

- Adsorb  the  virus  for  30  minutes  at  37 C.

- Add  the  maintenance  medium  -  5ml  for  Nunc  flask/10-15ml  for  Milk  dilution  bottle/100ml  for  Roux  bottle.

- Incubate  bottles  at  37C  in  CO   incubator.

- Observe  daily  for  CPE  both  in  the  morning  and  in  the  evening.

- Measles  virus  produces  CPE  after  4-5  days.  Two  types  of  CPE  are  described.  One  type  seen  after  infection  with  wild  virus  and  dilute  inoccula  is  giant  cell  transformation.  Multinucleated  giant  cells  containing  10-100  nuclei  form  as  a  result  of  cell  fusion  induced  by  virus.  The  second  type  of  CPE,  spindle  cell  formation,  is  associated  with  measles  virus , which has been passed repeatedly in tissue culture,  or  with  repeated  passage  of  undiluted  inoccula.

Japanese  Encephalitis  virus : Demonstration  of  CPE  in  porcine  stable kidney cell  line  (PS)

- Grow  PS  cells  to  form  a   monolayer  in  Nunc  flasks/Milk  dilution  bottles/Roux  bottle.

- Discard  the  growth  medium.

- Infect  the  cell  line  with  measles  virus  suspension  at  an  MOI  (multiplicity  of  infection)  of 1.

- Adsorb  the  virus  for  30  minutes  at  37 C.

- Add  the  maintenance  medium -  5ml  for  Nunc  flask/10-15ml  for  Milk  dilution  bottle/100ml  for  a  Roux  bottle.

- Incubate  the  bottles  at  37 C  in  CO   incubator.

- Observe  daily  for  CPE  both  in  the  morning  and  in  the  evening.

- JEV  produces  CPE  after  18-20 hrs.  CPE  is  seen  in  the  form  of   rounding of  cells  followed  by  cell  lysis.

IV  VIRUS  TITRATION

Titration  of  Rabies  virus  in  vivo  by  intracerebral  inoculation

After  a  virus  is  propogated  in either  cell  culture  or  in  a  suitable  animal,  we  need  to  know  the  infectivity  titre  of  the  virus  material  obtained.  This  can  be  determined  in  vivo  by  inoculating  increasing  dilutions  of  the  virus  material  to  a  susceptible  host  animal  such  as  laboratory  mice  and  based  on  mortality  seen  in  different  dilutions,  the  infectivity  titre  which  is  the  reciprocal  of  highest  dilution  showing  50%  mortality  in  the  inoculated  mice  and  expressed  as LD50 /ml  and  can  calculated  by  suing  either  Reed-Muench  or  Karber  formula.  As  an  example,  titration  of  rabies  virus  is  illustrated  in  this  section.

Materials :

- Microbiological  safety  cabinet.

- Sterile Pipettes, 10ml  and  1ml

- A  tray  with  ice  flasks.  Rabies  virus  suspension  (cell  culture  supernatant  of  infected  brain  emulsion)

- Mice  (Swiss  albino  or  Laka)  4-6 weeks  old

- One  ml  syringe  and  needle  for  I/c  inoculation

- Test  tubes.

- Sterile  PBS  pH 7.4

- Sterile  bovine  or  equine  serum

- Cages  for  housing  mice.

Procedure:

1. Working  in  microbiological  safety  cabinet,  prepare  the  diluting  fluid  which  is  PBS  containing  2%  serum  and  dispense  9ml  in  test  tubes  labelled  10-1  to  10-7  and  keep  the  test  tubes  in  rack  immersed  in  plenty  of  ice.

2. To  make  10 fold  (log)  dilutions  of  the  virus  material,  dilute  1ml  of  virus  in  9ml  of  diluent  to  get  the  initial  dilution  i.e.  10-1.   Subsequently  transfer  1ml  of  previous  virus  dilution  to  next  dilution  by  using  at  each  step  a  fresh  pipette,  to  achieve  serial  tenfold  dilutions.

3.Inocultate  0.03  ml  of  each  virus  dilution  intracerebrally  into  mice,  starting  from  the  highest  dilution  (in  this  case  10 -7).  Use  at least  6  mice  per  dilution  and  transfer  these  into  cages  appropriately  labelled.

4.Observe  the  mice  for  14  days.  Any  death  occurring  within  first  5  days  should  be  considered  non-specific. Observe  for  specific  signs  and  symptoms  of  rabies  i.e., ruffling  of  hair,  incoordination,  tremors  and  paralysis  of  hind  and  fore  limbs  and  finally  death.  Note  down  total  number  of  specific  deaths  in  each  dilution  and  calculate  the  virus  titre  by  using  Reed-Muench  or  Karber  formula.

Microtitration  of  Poliovirus  using  Vero  cell  line

Most  of  the  commonly  encountered  human  viruses  produce  characteristic  cytopathic  effect  in  one  or  the  other  cell  lines  routinely  used  in  virology  laboratories.  The  infectivity  titres  of  these  viruses  can  conveniently  be  determined  by  infecting  a  particular  cell  line  with  increasing  dilutions of  the virus  material  and  determining  the  highest  dilution  producing  cytopathic  effect  in  50%  of  the  inoculated  cells.  The  50%  end  point  dilution  which  in  this  case  is  expressed  as  TCID  50/ml  can  be  calculated  by  using  either  Reed-Muench  or  Karber  formulae.  As  an  example,  titration  of  polio  virus  I  is  illustrated  in  this  section.

Materials :

- Microbiological  safety  cabinet

- Sterile  test  tubes  or  Pencillin  vials

- Micro  pippettes,  200  &  1000  microns

- Co2  incubator.

- 96  well  flat  bottom  tissue  culture  plates(Nunc)

- Minimum  Essential  Medium(MEM,Sigma,HI)  supplemented  with  antibiotics

- Fetal  calf  serum(FCS)

- Trypsin  versene  glucose  coln.(TVG)

- VERO  cells.

- Fluid  containing  PI.

- Inverted  microscope

Procedure :

1.Make  10  fold  serial  dilutions,  say  from  10-3  to  10-7  of  the  virus  material  in  MEM  containing  2%  FCS,  dispensed  in  either  test  tubes  or  penicillin  vials,  changing  pipettes  or  tips  with  each  dilution.  Keep  the  tubes  in  rack  immersed  in  ice.

- Transfer  100 ul  of  each  dilution  to  4  wells  of  the  micro-titre  plate,  starting  from  highest  dilution  to  the  lowest.

- Trypsinise  one  MD  bottle  containing  a  confluent  monolayer  of  Vero  cells  and  count  the  cells  and  dilute  to  4x 105  cells  per  ml. In  MEM  containing  10%  FCS.  Dispense  100 ul  of  cell  suspension  in  to  each  of  the  well  containing  virus  dilution  and  also  include  4 wells  as  cell  control  in  which  100Ul  of  cell  suspension  is  mixed  with  100 UL  of  MEM  with  2%  FCS.  While  dispensing  the  virus  dilutions  and  cell  suspension  it  is  necessary  to  keep  the  plate  on  ice  tray.

- Cover  the  plate  and  keep  it  in  CO2  incubator  and  adjust  the  temperature  to  37 C.

- Read  the  plate  under  an  inverted  microscope  after  3  to  4  days  when  a   confluent  monolayer  of  Vero  cells  can  be   seen  in  control  wells.  Look  for  the  cytopathic  effect  in  the  wells  inoculated  with  virus  dilutions.  This  consists  of  rounding  of  cells,  i.e. if  2  of  4  wells  inoculated  with  10-8  dilution  shows  cytopathic  effect  then  the  titre  is  10-8   per  0.1  ml.  The  titre  can  also  be  calculated  by  the  method  of  Reed  and  Muench.

Calculation  of  50%  endpoints

In  any  biological  quantitation,  the  most  desirable  endpoint  is  one  representing  a  situation  in  which  half  of  the  inoculated  animals  or  cells  show  the  reaction  (death  in  the  case  of  animals  and  in  CPE  case  of  cells)  and  the other  half  do  not.  In  other  words,  the  endpoint  is  taken  as  the  highest  dilution  of  the  biological  material , which  produces  desired  reaction  in  50%  of  the  animals  or  cells.  The  50%  endpoint  can  be  based  on  several  types  of  reactions.  The  most  widely  used  endpoint,  based  on  mortality,  is  the  LD50  (50%  lethal  dose).  This  terminology  can  also  be  applied  to  other  host  systems-for  example,  tissue  cultures -  in  which  the  TCID50  represents  the  dose  that  gives  rise  to  cytopathic  effect  in  50%  of  inoculated  cultures.  When  computing,  if  closely-placed  dilutions  are  used  and  in  each  dilution  large  number  of  animals  or  cells  are  used,  it  may  be  possible  to  interpolate  a  correct  50%  end  point  dilution,  but  it  is  neither  practical  nor  economical.  Reed  and  Muench  devised   a  simple  method  for  estimation  of  50%  endpoints  based  on  the  large  total  number  of  animals,  which  gives  the  effect  of  using  at  the  2  critical  dilutions  between  which  the  endpoint  lies,  larger  groups  of  animals  than  were  actually  included  in  these  dilutions.

Calculation  of  the  LD  50  titre  by  the  Reed-Muench  method

Let  us  presume  that  we  have  titrated  a  virus  suspension  by  inoculating  mice  and  death  is  the  reaction.  The  number  of  deaths  and  survivals  in  each  dilution  is  tabulated  as  given  in  table  I  below:

T  A  B  L  E      I

Arrangement  of  data  used  in  computation  of  LD50  titre  by  the  method  of  Reed-Muench

___________________________________________________________________________

ACCUMULATED  VALUES

_______________________________________

MORTALITY

___________________________

VIRUS  		DIED	  SURVIVIED	           DIED 	SURVIVED	RATIO       %

DILUTION

___________________________________________________________________________

10-3			       6		0		 17	      0		17/17	    100

10 -4			       6		0		 11	      0		11/11	    100

10 -5			    4		2		   5	      2	               5/7	      71

10-6			       1		5		   1	      7		  1/8	      13

10-7			       0		6		   0	     13	               0/13	        0

___________________________________________________________________________

Accumulated values  for  the  total  number  of  animals  that  dies  or  survival  are  obtained  by  adding  in  the  direction  of  lowest  to  the  highest  values.  The accumulated  mortality  ratios  and  the  percentage  mortality  for  each  dilution  is  calculated.

In the example depicted in the table it  can  be  seen that  mortality  in  the  10-5, is higher than 50% and in the next higher dilution, 10-6   it  is  only  13%.   So, we need to find the 50%  endpoint  dilution , which  obviously  lies  between  these dilutions.  First, we have to  calculate  the  proportionate  distance  (PD)  of  the  50%  endpoint  from  these  dilutions  by  using  a  simple  formula.

PROPORTIONATE

DISTANCE                =  (%  mortality  at  dilution  next  above  50%) - 50%

----------------------------------------------------------------

(%   mortality  at  next          __     (% mortality  at  next

dilution  above  50%)	    dilution  below  50%)

EX. :          (71  -  50)		  21

------------           =     -----      =     0.36  or  0.4

(71 -   13)                   58

The  proportionate  distance  obtained  thus  has  to  be  corrected  by  the  dilution  factor,  which  is  the  logarithm  of   the  dilution  step  employed , which  in  this  case  is  1  (log  of  10).  Then  the  50%  endpoint  dilution  can  be  calculated  thus:

Negative  logarithm of  LD50  titre    		=   (negative  logarithm  of  the  next  dilution above  50%  mortality  +  PD)  x  dilution  factor  i.e.  in  this  example, (-5  +  0.4)  x  1  =

-5.4  or  log  LD50   titre  =  10-5.4   per  0.03 ml  which  is  the  amount  of  material  inoculated  I/C. The  same  methodology  can  also  be  applied  to  compute  TCID50  when  cell  culture  system  is  used  for  virus  titration.  Each  dilution  is  inoculated  into  a  minimum  of  4 to  6Wells  in  a  96  well tissue  culture  plate  and  observed  for  CPE , which  in  this  case  replaces  mortality.

Virus  titration  by  using  the  plaque  assay

- Prepare  confluent  monolayers  of  cells  (Porcine  kidney  for  JEV  and  Hep-2  for  Polio  virus)  in  24  well  plates  (Nunc).

- Prepare  serial  10-fold  dilutions  (101  to  107 )  of  virus  in  chilled  maintenance  medium  (MEM, with  1%  serum).

- Remove  culture  medium  and  add  0.2ml  of  virus  inoculum,  starting  from  the  highest  dilution.  Ensure  that  a  film  of  medium  completely  covers  the  cell  sheet.

- Incubate  the  plate  at  37 C  for  1  hour  with  intermittent  rocking  of  the  plate.

- Remove  the  inoculum,  preferably  with  a  pipette  and  then  add  1.5  ml  of  agarose  overlay  medium  (growth  medium  with  0.3%  agarose  and  2.5%  FCS).

- Ensure  that  the  overlay  medium  has  spread  evenly  over  the  monolayer,  leave  at  room  temperature  for  10  mins  and  then  incubate  at  37 C .

- Examine  the  monolayers  daily,  starting  from  second  day  of  incubation.

- Once  the  plaques  have  developed,  usually  by  the  fourth  day  post  inoculation,  count  the  number  of  plaques  at  each  dilution,  remove  the  agarose  overlay  and  gently  wash  the  monolayer  with  PBS.

- Stain  the  plate  with  0.1%  crystal  violet  solution  and  count  the  plaques  again.

- Estimate  the  virus  titre  as  a  plaque  forming  units  per  ml  (pfu /ml)  as  follows  by  counting  the  number  of  plaques  at  an  appropriate  dilution.

For  example  :

Number  of  plaques  produced  		   9

Dilution  of  virus 		                1   x    105

Volume  of  inoculum  			   0.2  ml

Virus  titre  		                 =          9  x  1x105  x  1/5  pfu  per  ml

=	   4.5 x 106

V  ISOLATION  AND  IDENTIFICATION  OF  ENTEROVIRUSES  FROM  CLINICAL  SPECIMENS

Enteroviruses  including  polio  viruses  cause  a  variety  of  CNS  manifestations  including  aseptic  maningitis,  encephalitis  and  paralysis.  These  viruses  are  natural  inhabitants  of  human  intestinal  tract  and  they  can  be  easily  isolated  from  samples  of  feces  or  from  rectal  swabs.  But  mere  isolation  of  a  enterovirus  from  stool  sample  may  not  prove  the  diagnosis  as  these  may  be  present  in  normal  stool  specimens  also.  Therefore  isolation  should  also  follow  a  demonstration  of  a  serological  response  to  corroborate  the  diagnosis.  However  isolation  of  virus  from  CSF,  or  from  brain  postmortem  cases  is  diagnostic.

Isolation  of  Enteroviruses  from  fecal  specimens:

Materials:

- 4-8  gms  of  feces,

- 2. Centrifuge  tubes.

- 3.Cryo  centrifuge

- 4. Test  tubes

- 5.Rubber  corks  size 2,3    5.Micro  pipettes

- 6.CO2  incubator

- 7. Water  bath

- 8.MEM  with  antibiotics  and  FCS  10%  and  2%

- 9.Hep  2  cells  (ATCC, CCL 23)

- 10.  RD  cells  ( ATCC< CCL 136)

- TVG  soln.

- 96  well  flat  bottom  tissue  culture  plates.

- 13.LBM  pools  of  Antisera.

Processing  of  fecal  specimens :

About  4-8  gms  of  feces  is  required.  The  specimens  are  kept  frozen  or  in  cold  till  processed.  A  10%  or  20%  fecal  suspension  is  made  in  cold  sterile  PBS  in  a  tightly  stoppered  bottle.  After  vigorous  shaking  to  emulsify  the  feces,  the  specimen  is  allowed  to  settle  in  the  cold  for  10min.  The  supernatant  fluid  is  then  poured  in  to  a  centrifuge  tube  and  clarified  at  3000  rpm  for  10min.  The  supernatant  fluid  is  removed  and  to  this  is  added  antibiotics  to  get  a  final  concentration  of  1000  units  of  penicillin  and  1000 ug  of  streptomycin  per  ml  and  the  sample  is  held  at  room  temperature  for  30min.  It  is  then  centrifuged  in  cold  at  speed  10,000  rpm  for  20  min.  The  clear  supernatant  is  separated  and  used  immediately  or  stored  frozen.

Inoculation  of  specimens  into  cell  culture:

For  isolation  of  most  enteroviruses  a  combination  of  2  cell  lines  like  Hep  2  and  RD  will  suffice.  These  cells  are  grown  separately  in  test  tubes  and  monolayers  are  obtained  by  employing  usual  cell  culture  techniques,  described  elsewhere.  The  sample  processed  is  inoculated  in  200 Ul  quantities  to  each  of  4  tubes  of  both  Hep 2  and  RD  cell  lines  containing  1  ml  maintenance  medium  and  incubated  in  an  almost  horizontal  position  at  37  C .  Cultures  showing  early  degeneration,  less  than  24hrs  are  subpassaged.  The  tubes  are  observed  daily  for  evidence  of  typical  enterovirus  CPE  and  discarded  at  the  end  of  7-10  days  if  found  negative.

Identification  of  Enterovirus  by  Neutralisation : Ex: Poliovirus

If  typical  CPE  is  seen  with  either  Hep  2  or  RD  or  both  cell  lines,  it  is  almost  certain  that  an  enterovirus  has  been  isolated. The  isolate  may  be  identified  as  one  of  the  polio  antibodies.  The  isolate  should  be  titrated  and  a  dilution  containing  100  TCID  50  per  0.1 ml  is  prepared.  Each  of  the  polio  antisera  P1,  P2  and  P3  is  diluted  to  contain  50  antibody  units,  i.e.50  times  that  necessary  to  neutralise  100  TCID  50  of  virus.  Equal  quantities  of  virus  and  serum  are  mixed  and  incubated  in  water  bath  at  37  C  for  2hrs.  The  mixture  is  then  inoculated  on  to  monolayers  of  HEP  2  or  RD  cell  lines  in  test  tubes  or  microtitre  plates.  The  reading  is  taken  on  day  3  and  7  and  if  the  isolate  is  one  of  the  poliovirus  it  will  be  neutralised  by  the  corresponding  antisera  and  hence  there  will  be  no  CPE  in  the  inoculated  cultures.  Virus  controls  not  treated  with  antisera  should  show  typical  CPE  at  the  end  of  3rd  day. Enteroviruses, which produce CPE, can be conveniently typed by neutralization using LBM  pool (Lim-Benyesh-Melnick) of antisera. For further details about this technique as well as interpretation of results please refer to Melnick et al (1979). Enteroviruses. In : Diagnostic procedures for viral, Ricketsial and Chlamydial infections (E.H.Lennette, N.J.Schmitt, Eds)

5th edition, pp 471 - 524. American Public Health Association, Washington,USA.

Isolation  of  virus  from  CSF :

Enteroviruses  can  sometimes  be  isolated  from  CSF  during  early  stages  of  the  illness.  For  isolation  from  CSF  200 Ul  of  CSF  is  inoculated  on  to  the  monolayers  of  both  Hep  2  and  RD  cells  as  described  previously.  No  pre-treatment  or  addition  of  antibiotics  is  required.  The  tubes  are  incubated  and  observed  for  CPE  as  in  case  of  fecal  specimens.  If  an  isolate  is  obtained  it  is  identified  as  described  earlier.

VI  IMMUNOASSAYS  FOR  DETECTION  OF  ANTI-VIRAL  ANTIBODIES

Haemagglutination  inhibition  (HI)  test

A  wide  variety  of  animal  viruses  have  been  shown  to  possess  the  capacity  of  adsorbing  to  red  blood  cells  and  in  many  cases  causing  agglutination  of  these  cells.  This  haemagglutination  (HA)  test  furnishes  a  relatively  simple,  quick,  convenient  and  fairly  quantitative  way  of  detecting ,  identifying  and  titrating  viruses.

Virus  haemagglutination  is  readily  inhibited  by  specific  antibody  and  the  haemagglutination  inhibition  test  furnishes  a  delicate  way  of  detecting  viral  antibody.  It  may  be  strain-specific  as  in  the  case  of  the  influenza  viruses  or  group-specific  as  with  most  of  the  arboviruses  where  the  test  is  mainly  used  for  antigenic  group  screening.

Materials  required  :

Reagents:

- 25%  kaolin  borate  saline  pH  9.0.

- 0.4%  bovine  albumin  in  borate  saline

pH  9.0  (0.4%  BABS  pH  9.0).

- Virus  adjusting  diluents  of  varying  pH  (VADs)

- Goose  erythrocytes  (RBC)  in  DGV

- Antisera

- Antigens

- Normal  serum

- Acid  citrate  dextrose  (ACD)

- Dextrose  gelatin  veronal  (DGV)

- Borate  saline  pH  9.0

- 0.9%  NaCl

- Acetone

- 2-Mercaptoethanol

Preparation  of  Reagents

- Borate  saline  pH  9.0

1.5  M  NaCl				160  ml

0.5  M  H3BO4   (Boric  acid)		200  ml

1.0  M  NaOH				  47  ml

Make  it  to  2  litres  with  D/W,  pH  adjusted  to  9  with  1M  NaOH  or  0.5M  H3BO3.

- 0.4%  Bovine  albumin  in  1000ml  borate  saline  pH  9.0 kept  O/N  in  the  cold.

pH…………………..8,6

Adjust  pH  9.0  with  1M  NaOH.

- 25%  kaolin  in  100  ml  borate  saline  pH  9.0  (Use  acid-washed  kaolin)

Borate  saline  is  stirred  on  a  magnetic  stirrer  and  kaolin  powder  is  added  slowly  to  make  a  uniform  suspension.

- Dextrose-gelatin-veronal  (DGV)  for  preservation  of  goose  cells:

- Gelatin 					0.600  g

Diethyl  barbituric  acid  (Veronal)	0.580  g

B.   Sodium  barbitone  			0.380  g

CaCl2  (Anhydrous)			0.020  g

NaCl				            8.500  g

Dextrose  					10.000  g

Merthiolate  (Thiomerosal  powder)	0.100  g

MgSO4.7H2O				0.120  g

Add  250  ml  of  hot  D/W  to  A  and  750  ml  of  D/W  to  B.  Mix  A  and  B.

Autoclave  at  10  lbs  for  10  minutes.

- 0.9%  NaCl

- g  NaCl  in  100  ml  D/W.  Autoclave  at  15  lbs  for  15  minutes.

- Preparation  of  stock  solutions

- 1.5M  sodium  chloride  (NaCl)  -  87.675 g  NaCl  made  to  1  litre  with  distilled  water.

- 0.5M  boric  acid  (H3BO3)  -  30.92  g  H3BO3  are  dissolved  in  about  700  ml  of  hot  D/W.  The  solution  is  allowed  to  cool  to  room  temperature  and  then  made  to  1  litre  with  D/W.

- Concentrated  sodium  hydroxide  (NaOH)  -  approximately  500 ml   of   distilled  water  is  added  to  approximately  500g  of  NaOH  pellets.  The  concentrated  NaOH  is  about  18M  and  is  very  stable.

- 0.5M  dibasic  sodium  phosphate  (Na2HPO4)  -  70.99  g  Na2HPO4  (anhydrous)  made  to  1  litre  with  distilled  water.

- 1M  monobasic  sodium  phosphate  (NaH2PO4)  -  138.01  g  NaH2PO4.H2O  made  to  1  litre  with  distilled  water.

Adjusting  diluents

___________________________________________________________________________

Stock  			6.0		6.2		6.3		6.4

Solutions  		 ml		ml		ml		ml

___________________________________________________________________________

1.5  M  NaCl		100		100		100		100

0.5  M  Na2HPO4	  32		  64		  92		112

1.0  M  Na2HPO4	184		169		154		144

Make up final volume to 1L using double distilled  water.

___________________________________________________________________________

- Acid Citrate Dextrose (ACD)

Sodium Citrate				11.26  g

Citric acid 					  4.00  g

Dextrose					 11.00 g

D/W					   500  ml

Autoclave at 10 lbs for 10 minutes.

Collection/washing of goose RBC

a. Collection of RBC

- Goose RBC are collected under sterile condition.

Take 125 ml of DGV in a 250 ml flask.

- Take 10 ml ACD in a sterile tube.

- Withdraw 7.5 ml ACD into 50 ml syringe fitted with a 20 gauge needle.

- Collect 50 ml goose blood from the wing of jugular vein.

- Remove needle from syringe and transfer blood from syringe to flask with DGV.

- Mix well.

- Store at 4C (can be kept for up to 2 weeks)

- Washing of RBC

- Centrifuge required quantity of RBC suspension in a graduated centrifuge tube for six

Minutes at 2000 rpm.

- Aspirate off the pipette attached to a rubber bulb without disturbing the RBC.

- Add 2 ml of normal saline (NS).

- Mix gently with Pasteur pipette to resuspend cells and add an extra quantity of NS to bring to the original volume.

- Centrifuge at room temperature for 3 minutes at 200 rpm.

- Repeat steps 2,3,4 & 5.

- Centrifuge at 2000 rpm for 6  minutes.

- Read volume of  packed RBC.

- Remove supernatant fluid.

- Add 0.9% NaCl to make a 10% suspension of RBC and mix. The cells are ready for use in IV (use washed and packed cells for adsorption of sera).

Titration of Antigen

- With a wax pencil mark a "U" microtitre plate as shown in figure:

20	   40	80     160      320     640	   1280     2560     5120     10240  cc**    cc

6.0

6.2

6.4

6.6

6.8

7.0

7.2

- cc  -  cell control.

- With a 0.05 ml dropper, add one drop of 0.4% BABS pH 9.0 to each well.

- Keep plate in refrigerator for chilling.

- Keep seven 0.05 ml micro diluters with tips immersed in 0.9% NaCl in a refrigerator for chilling.

- Dispense 0.9 ml of 0.4% BABS in a tube in an ice bath.

- Add 0.1 ml of  antigen and mix thoroughly (1:10 dilution of antigen).

- Remove plate and micro dilutor from refrigerator.

- Blot 0.05 ml micro dilutors on a blotting paper, dip the tips in tube with 1:10 antigen and place in each of the wells marked 1:20 in the plate.

- With the micro dilutors, prepare serial 2 - fold dilution of the antigen upto well 10 (1:10,240) by swirling the micro dilutors 10 to 15 times.

- Add 2.4 ml of VADs 6.0, 6.2, 6.4, 6.6, 6.8, 7.0, & 7.2 to labelled tubes.

- Add 0.1 ml of 10% RBC to each of the tubes and mix well (this gives a dilution of 0.4% RBC).

- With a 0.05 ml dropper pipette add one drop of RBC to the corresponding row.

- Tap plate gently to mix cells and the antigen.

- Cover the plate and incubate at room temperature until  cells in the wells of the cell control row settle down and form a button (usually this takes 20 - 30 minutes)

- Read and record the titration.

- Complete agglutination consists of a uniform layer on the lower surface of the well. A negative consists of a compact, sharply demarcated button of sedimented cells in the centre of the well, the pattern being identical to that seen in the control wells. The results are coded as follows:

20	 40	 80	 160	 320	 640	 1280	  2560

+	  +	  +	   +	   +	   +	    0	     0

then the antigen titre is the average of the antigen dilutions 640 and 1280 i.e.

(640  +  1280) /2   =  960.

- The VAD with which the antigen shows the highest titre is the optimum one and should be                used for that particular antigen.

- Determine the dilution, which will contain 8 units per 0.025 ml by dividing the endpoint by 16. For e.g.,  end point 1280  =  (1280/16) = 80. Therefore a 1:80 dilution of the antigen will contain 8 HA units per 0.025 ml.

- Calculate the quantity of antigen required for the test and dilute the antigen accordingly.

- Store antigen at 4C.

Treatment of sera for HI test

The sera may be either extracted with acetone or treated with kaolin. These sera are then adsorbed

With goose erythrocytes to remove heamagglutinins for goose erythrocytes.

a     Acetone extraction of sera

- Label 16x120 mm tubes with specimen number of sera (this should include negative and

positive sera).

- Add 0.9 ml normal saline to each tube.

- Add 0.1 ml serum to each correspondingly labelled tube.

- Keep sera in an ice bath.

- Add 12 ml chilled acetone to each tube.

- Stopper each tube and mix by inverting tubes several times.

- Incubate for 5 minutes mixing occasionally.

- Centrifuge at 3000 rpm for 5 minutes at 4C.

- Decant supernatant fluid.

- Add 12 ml fresh acetone to each tube.

- Mix thoroughly.

- Incubate in cold for 1 hour. Mix the material occasionally.

- Centrifuge at 4C for 5 minutes at 2000 rpm.

- Aspirate off  the supernatant.

- Tap each tube against palm of hand so that sediment forms a uniformly thin layer.

- Desiccate in a desiccator attached to a vacuum pump for 1-2 hours.

- Add 0.5 ml borate saline pH 9.0 to each tube and mix until completely resuspended (keep for minimum of 1 hour in cold).

- Adsorb with goose cells.

- Kaolin treatment of sera

- Label 12x75 mm tube with specimen numbers of sera.

- Add 0.1 ml serum to each correspondingly labelled tube.

- Add 0.4 ml of kaolin solution (25% in borate saline, pH 9.0), to each tube and mix by shaking tube rack.

- Incubate for 20 minutes at room temp. shaking every 5 minutes.

- Centrifuge at 2500 rpm for 30 minutes at room temp.

- Adsorb with goose cells.

- Adsorption of sera with goose cells

- Keep sera (acetone extracted or kaolin treated) an ice bath.

- Add 0.1 ml of washed and packed goose RBC to each tube (It may be necessary to add more

cells for pig and rabbit sera)

- Mix well and incubate for 20 minutes in an ice bath, mixing every 5 minutes.

- Centrifuge at 2000 rpm for 15 minutes at 4C.

- Transfer supernatant fluid to fresh tube by decanting (transfer labels at the same time).

The sera are ready to be tested in HI.

Preliminary titration of antigen

The diluted antigens are titrated again before using them in the test.

- Mark a "U" type microtitre plate as shown below.

Antigen				Dilution			Cell

Number  ------------------------------------------------------------	control

1	 2          3         4          5        6       7

1

2

3

4

2.  Add a drop of 0.4% BABS pH 9.0 to each well from dilutions 1-7 and cell controls in rows 1-5

with a 0.05 ml dropper.

3. Keep plate in the refrigerator for chilling.

4. Keep 5 microdiluters (0.05 ml) with tips immersed in 0.9% NaCl for chilling.

5.Blot out the tip of each microdiluter. Dip the tip in each of the antigens and place in each of

the corresponding well dilution no.1.

- Prepare serial two-fold dilutions of each antigen from well No.1 to well No…

- Add one drop of 0.4% cells in required VAD with a 0.05 ml dropper pipette to corresponding

rows of antigens including cell control wells.

- Shake the plate gently and incubate at room temperature till cell controls settle down

(about 30 minutes)

- Read and record the titration. Adjust if necessary and re-titrate.

Performance of HI test

- Select antigens to which sera are to be tested.

- Treat all test sera, antisera homologous to antigens selected and a negative control serum, as shown in treatment of sera.

- Mark the "U" type microtitre plates to accommodate the number of sera to be tested for each antigen. Also mark the control plate (see below)

- With a 0.025 ml dropper add a drop of 0.4% BABS pH 9.0 to each well.

- Dip pretested 0.025 ml micro diluters into each treated serum and place in well No.1

(1:10 dilution).

Sr.No.		Serum dilutions 		Sr.No.		serum dilutions

------------------------------------------------		         -------------------------------

10    20    40    160    320    640    1280		          10     20

1

2

3

4

5

6

7

8

9

10

Negative       					     Negative

Sr. control					     Sr. control

Ref. +ve Control			                 Ref.+ve Control

- Prepare serial two-fold dilutions with the microdiluters for each antigen and for serum

controls.

- With a 0.025 ml dropper add a drop of test virus antigens containing 8 HI units, to all

Wells of the serum dilutions in each test plate.

- With a 0.025 ml dropper add a drop of 0.4% BABS pH 9.0 to all wells of the serum

dilution series in the controls plate. Shake plates to mix, cover and keep in the

refrigerator.

- Mark the plate for post incubation titration.

- Add 0.05 ml of 0.4% BABS pH 9.0 to each well with dropper.

- Add 0.05 ml of each antigen to the first well and mix.

- Incubate all plates at 4 C overnight (about 18 hours)

- Place a 0.05  ml microdiluter in each of the sells containing antigen diluent mixture in

The post incubating titration plate (well No.1).

- Prepare serial two-fold dilutions through well No.7.

- Add one drop of 0.4% goose RBC in respective VAD to each well of titration plate with 0.05ml dropper.

- Shake and incubate at room temperature.

- Add one drop 0.4% goose RBC (in respective VAD) to each well of test plates and control plates with a 0.05 ml dropper.

- Shake plates and incubate at room temperature till the cells in controls settle down.

- Read and record the  cell patterns.

- Check RBC controls. These should settle down into a button.

- Check the titration of antigens. Each antigen should contain 4-8 HA units.

- Check the serum controls. If no agglutination occurs in any dilution of a serum the HI results in test plates are considered valid.

- Check the negative control serum.  It should show complete agglutination in all dilutions. If not, the test is invalid.

- Check the positive reference serum. The serum must show complete inhibition of

haemagglutination.

- Check the test sera. The end point used to designate the titre of HI antibody

present is the highest dilution of serum that inhibits heamagglutination.

Early convalescent sera are treated with 2-ME to detect the presence of IgM antibodies.  The acetone extracted sera are treated with 2-ME. Prepare 1M 2-ME in borate saline pH 9.0 : (a) 1.47 ml 2-ME +18.53ml or (b) 1.56 ml + 18.44 ml, depending upon the molecular weight of stock solution. Add one part of 2-ME (1M) to four parts of serum and incubate the mixture for one hour at 37 C and make serum dilutions.  For post titration of antigen with 2-ME, 0.2M 2-ME is mixed with equal volume of antigen and incubate overnight at 4 . Antigen dilution is carried out and HA titre is determined. The 2-ME treated and untreated sera are tested in HI as per routine test.

VIRUS NEUTRALISATION TESTS

A virus will lose its infectivity when it is mixed with specific antiserum raised against that virus. This is called neutralisation. The neutralised virus is unable to infect any cell culture or experimental animal. This property of the virus can be conveniently employed for its identification and also for detection and quantification of specific antiviral antibodies. In the virus neutralisation tests for antibody assay, a fixed amount of a specific virus is made to react with increasing dilutions of a specific antiserum under standard conditions and the degree of virus neutralisation is determined either in vivo by animal inoculation or in vitro by infectivity in cell culture. On the other hand, for identification of a particular viral isolate, a fixed quantity of virus is reacted with a standard amount of specific antiserum and also with normal serum. The identity of the virus gets established if it is neutralised by specific antiserum and remains infectious with normal serum.

In this section we will illustrate assay of anti-rabies serum by in vivo neutralisation in mice and detection and quantification of polio virus antibodies by in vitro neutralisation in cell culture.

ASSAY OF ANTIRABIES SERUM BY MOUSE NEUTRALISATION TEST (MNT)

This test is the standard test recommended for estimation of anti-rabies antibodies in human or animal sera, to know the level of protection after vaccination of for diagnosis of the disease. In this test different dilutions of the serum under test is incubated with a standard amount of a fixed rabies virus strain known as CVS (challenge the virus strain) and serum virus mixture is inoculated I/C in to weanling mice and depending on the survival rate in mice the titre can be expressed in international units (IU) in comparison to a standard anti-rabies serum whose unitage is known.

MATERIALS REQUIRED :

1.Sterile  test tubes or penicillin vials.

2.Pipettes, 10 ml, 5 ml and 1 ml

3.Water bath

4.1 ml syringes

5. Weanling mice, 4 weeks old

6. Sterile PBS pH 7.4

7. Bovine or horse serum

8. CVS of known titre.  9.Reference ARS of known unitage.

PROCEDURE :

- Inactivate sera under test at 56 C for 30 min in water bath.

- Prepare dilutions of test and reference sera in PBS containing 2% bovine of horse serum. Dilutions should be so adjusted as to get 50% end points preferably in the middle dilutions. To get a dilution of say  1:8 add 0.1 ml of serum to 0.7 ml of diluent and then continue with doubling dilutions i.e 16,32,64 etc.

- Prepare a dilution of CVS containing 100 LD50/0.03 ml so that when mixed with an equal quantity of serum dilution the challenge is reduced to 50 LD50.  To calculate the titre of CVS giving 100 LD 50 we should know the original titre of CVS. For E.g. if the titre is 10-7 /0.03 ml then 100 LD50 will be present in dilution 10-7  / 0.03 ml then 100 LD50  will be present in dilution 10-5.

- Mix 0.5 ml of serum dilution with 0.5 ml of CVS dilution, 10-5  and incubate in a water

bath at 37 C for 60 min. Simultaneously prepare 3 more dilutions of CVS i.e, 10-6 to 10-8and mix 0.5 ml of this dilution with 0.5 ml of diluent. This is also incubated along with serum-virus dilutions.

- After 60 min remove the tubes from water bath and chill the tubes by keeping in

Refrigerator at 4 C or in a ice tray.

- Inoculate I/C 6-8 mice with each serum dilution and to determine the Exact LD50 used for challenge inoculate virus dilutions also in similar manner. Observe the mice for 14 days. Ignore all deaths before 5 days post inoculation. Note down the specific deaths occurring from 6 to 14 days.

- The 50% end point titre of serum called effective dose 50 (ED50) or neutralising dose 50

(ND50) is calculated by Reed and Muench method. At the same time note down the mortality in mice inoculated with CVS dilutions and calculate the exact LD50 used in the test. This should be approximately 50 LD50.

- The titre of the test serum can be expressed in IU/ml in comparison to reference serum. E.g.  If reference serum has an IU of 5 IU and its ND50 is 1:128 and the test serum shows ND50 of 1:64 then the unitage of test serum is

reciprocal of

test serum ND50

_____________________________ X unitage of reference serum

reciprocal of

reference serum ND50

i.e.

64

______  X  5   =  2.5 IU/ml

128

ASSAY OF POLIO VIRUS ANTIBODIES BY NEUTRALISATION TEST IN VITRO BY USING CELL CULTURE TECHNIQUE

Antibodies to polio viruses develop after vaccination with polio vaccine or after infection with wild virus. Antibodies to polio and other enteroviruses may be present in normal population and hence demonstration of four fold rise in the titre of antibody is absolutely necessary for the sero- diagnosis of enteroviral infections. For the test, two serum samples, one taken just after the onset of the disease and the second, after a gap of 2 weeks or more is required.

In the test proper, increasing dilutions of patient's serum is mixed with 100 LD50. Of  the 3 types of polio viruses and incubated in water bath for 2 hrs. The mixture is then inoculated to preformed monolayers of either Vero or Hep 2 cells in flat bottom 96 well tissue culture plates and incubated for 7 days. Readings are taken at 3rd and 7th day and depending on the CPE seen in different dilutions, titre of the serum sample is calculated  by using Reed and Muench method.

MATERIALS REQUIRED :

- 96  well flat bottom tissue culture plates

- Micro pipettes, 200 and 1000 Ul

- Microbiological safety cabinet (Laminar flow)

- CO2 incubator.

- Test tubes or penicillin vials

- MEM with added antibiotics and containing 2% FCS

- Water bath 56 C and 37 C

PROCEDURE :

Each serum sample has to be tested separately for antibodies against 3 polio viruses. Before starting the procedure a plan should be drawn for the distribution of samples and controls in the microtitre plates.

- Inactivate the serum samples at 56 C for min.

- Dilute the serum samples from 1:16 to 1:2048 in test tubes or penicillin vials using MEM with 2% FCS.

- Dilute the 3 types of polio viruses, P1, P2  and P3 in MEM to contain 100 TCID 50 per

  - ml using MEM with 2% FCS.

- Mix equal serum quantities of serum dilution and virus dilution in test tubes and incubate in

water bath at 37 C for 2 hrs.

- Simultaneously prepare three 10 fold dilutions of challenge virus dose starting from the

dilution containing 100 TCID 50. Mix equal quantities of these dilutions and MEM with 2% FCS and incubate in a similar manner.

- At the end of incubation, dispense 100 ul of serum virus mixture and virus MEM mixture to

wells of the micro titre plate, starting from lower dilution of the serum to the higher. Include 2 wells for cell control and to this add 100 UL of MEM. Each serum dilution and virus dilution should be inoculated  to at least 4 wells.

- Incubate the plates in a CO2 incubator and take the reading at the end of 3rd and 7th day. Look

for the CPE in wells in which virus dilutions were added and calculate the actual TCID50

employed in the test. This should be around 100 TCID50  per 0.1 ml. Note down the highest serum dilution showing complete neutralisation of CPE. Calculate the 50% endpoint dilution by using Reed -Muench formula. If there is initial neutralisation at day 3 followed by breakthrough at day 7, it indicates partial neutralisation due to antigenic relation with other enteroviruses.

ENZYME LINKED IMMUNOSORBENT ASSAY

Preparation of solutions and reagents for ELISA

- 0.05M carbonate buffer pH 9.6.

- Dissolve 0.53 g Na2CO3 (anhydrous) in distilled water and make final volume to 100 ml.

- Dissolve 0.42 g NaHCO3 in distilled water and make final volume to 100 ml.

To 32 ml of solution A, slowly B till pH is 9.6 (approximately 68 ml).

- Phosphate citrate buffer, pH 5.0.

- Dissolve 11.9 g of Na2HPO4, 2H2O in distilled water and make up to 1 litre (Solution A).

- Dissolve 7.0 g of citric acid in distilled water and make up to 1 litre (Solution B).

Mix 55 ml of Solution  A with 45 ml Solution B.

Adjust pH to 5.0 with either a or b if necessary.

- 0.01 M Phosphate buffer saline (PBS), pH 7.2.

Dissolve 8.0 g of NaCl, 0.2g of KC1, o.2g of KH2PO4 and 1.5 g of Na2HPO4. 2H2O in distilled water and bring the final volume to 1000ml. Adjust pH to 7.2 with 0.1 N NaOH or 0.1N HC1 if necessary. Add 0.5 ml/L Tween 20 (Polyoxyethylene sorbitan monolaurate) to 1X PBS to make PBST.

ANTIGEN PREPARATION OF HERPES SIMPLEX VIRUS

- 0.5ml of a stock of Herpes simplex virus (HSV-1) is added to a Roux bottle with a monolayer of Vero cell line after discarding the growth medium.

- Adsorb the virus for 30 mins at 37 C and add 100 ml of maintenance medium. Incubate in a CO2 incubator at 37 C.

- Observe for evidence of CPE (24-48 h).

- Remove the supernatant medium and harvest the cells with 10-20 ml of sterile PBS, when >90% of the cells show CPE.

- Centrifuge for 5 mins at 1000 rpm and wash the cells thrice with sterile PBS.

- Resuspend the cells in a minimal amount of PBS (ex:1ml).

- Sonicate the suspension at 60 cycles/second continuously for 5 mins and pulsed sonication for 3 mins.

- Centrifuge the sonicate for 10 mins at 1000 rpm.

- The supernatant is used as the antigen after estimating the protein concentration.

- Control Vero cell antigen is prepared in a similar manner with mock infected Vero cells. (Sterile medium to be used instead of the virus suspension).

NOTE : The protein values of the HSV and Vero cell antigens should be matched before it is used in the test.

MEASLES VIRUS ANTIGEN PREPARATION

- 1 vial of commercial Measles vaccine reconstituted in 0.5 ml of cell culture medium and

made up to 5 ml with same medium and inoculated into 1 Roux bottle with a monolayer of Vero cell line.

- Adsorption is carried at 37 C for 1 h

- Maintenance medium is added.

- Cytopathic effect is first seen on third day and it gradually increases over next four days. On the seventh day extensive CPE can be seen

- The fluid is then frozen and thawed twice and kept as seed stock.

PREPARATION OF ANTIGEN

- Virus is grown in Roux bottle and fluid harvested aseptically.

- Spin at 1000 rpm for 30 min.

- To supernatant add sodium chloride (4gms/100ml) and PEG precipitate at a concentration of 10%. (10gms/100ml); (add Nacl first allow it to dissolve and then add PEG slowly)

- Stir for half an hour in ice bath and add 0.1% sodium azide while stirring.

- Keep for two hours or overnight in refrigerator.

- Spin at 10000 x g for 30 min.

- Discard supernatant.

- Resuspend pellet in 1/100th of the original volume with normal saline.

- Dialyse against sterile normal saline containing 1% sodium azide for 24h with three changes.  (Dialysis bags are pretreated by boiling in 1% sodium carbonate solution in distilled water containing lmM EDTA).

- Collect the dialysed antigen centrifuge and collect supernatant 5MM EDTA + 200MM NaHCO3  in 100 ml D.W. x 20 min. and estimate the protein before using it in the test.

- Control Vero antigen is prepared in a similar manner with fluid collected from mock infected Vero cells.

EXTRACTION OF JAPANESE ENCEPHALITIS VIRUS ANTIGEN WITH SUCROSE AND ACETONE

1.  The infected suckling mouse brain is homogenised with four volumes of chilled 8.5%

aqueous solution of sucrose in homogeniser (Waring blender) (ex. If the total weight of the mouse brain is 2g then 8ml of sucrose solution should be added)

2.  The homogenate is added drop wise with brisk mechanical stirring to 20 volumes of

chilled acetone. The mixture is shaken vigorously and allowed to stand for 15 min.

The milky supernatant acetone is decanted, the sediment at this stage being a pink gummy mass which is tightly adherent to the bottom of the centrifuge bottle.

3.  A volume of fresh acetone equal to that originally used is added to each bottle and the

preparation are allowed to stand in an ice bath for at least one hour to dehydrate the

sediment; after sufficient time the sediment is readily reduced to a fine suspension by use of a thick glass rod. The bottles are then centrifuged as before. The supernatant fluid is

aspirated out and the sediments from all bottles are pooled into one bottle with the help of small quantity of fresh acetone.

4.  After most of the final supernatant acetone has been removed by aspiration the bottle is

closed with a rubber stopper fitted with glass tubing, which is connected to a vacuum pump for drying. The drying is continued for one hour with the bottle kept immersed in an ice bath. The pump is protected from contamination by a trap containing a large quantity of non-absorbent cotton.

5.To the dry powder a volume of 0.9% NaCl is added which is equal to 2/5th of the total

Volume of homogenate originally used (Ex. If the homogenate is 10ml, 4ml of 0.9% NaCl is added for rehydration). The bottle with antigen is left overnight in ice water in the cold room. The next morning it is centrifuged at 10000 rpm for one hour. The supernatant fluid is antigen. For gel diffusion test uncentrifuged antigen is used.

Note :   Tris buffer (0.1M) pH 8 to 9 can be used rehydration of sucrose acetone antigen instead of 0.9% NaCl.

Procedure for biotinylation of monoclonal antibody

Reagents :

- Monoclonal antibodies :  Ascitic fluids from  BALB/c mice inoculated with desired clones have to be precipitated using the sodium sulphate technique. After dialysis the protein concentration is measured (absorbance at 280nm) and adjusted to 1mg in 0.1M sodium bicarbonate solution (stock solution).

- Biotin-N-hydroxy succinamide (BRL Bethesda): 1mg of Biotin-n-hydroxy succinamide is dissolved in 1ml of dimethylsulfoxide (Sigma or Merck). Prepare it fresh on the day of use. DO NOT STORE SOLUTION PREPARED EARLIER.

3) Good quality dialysis bags (25000 mol.wt cutoff)

PROCEDURE

To 1000 ug of monoclonal antibody in 1ml of sodium bicarbonate solution, add 200 ul of stock biotin solution drop-wise (1mg/ml DMSO, it can be 100, 200 & 400 accordingly check before use). After mixing well incubate at room temp. for 4 hours with periodic mixing. At the end of 4 hours dialyse the mixture against sterile normal saline (500 ml x 3 changes) for 18 hours at 4 C  to remove unbound biotin. After dialysis measure the exact volume. If the volume is 1 ml then the protein concentration is 500 ug/ml. Distribute 50 ul volumes into 20 Eppendorf tubes (bullets). Add 50 ul of sterile glycerol to each bullet (cryopreservative). Each bullet now contains 50 ug of biotinylated monoclonal antibody. Store at -70 C. Estimate optimal concentration of this diluent for this antibody. DO NOT USE PLAIN PBS SINCE HIGH BACKGROUND IS OBTAINED. The conjugate used is STREPTAVIDIN PEROXIDASE (BRC Bethesda) at a dilution of 1:1000 (50 ul/well in MAC-ELISA). Incubation with biotinylated monoclonal antibody is for 2 hours at 37 C in a water bath (float the plates).

DETECTION OF IgG ANTIBODIES TO HSV-1 BY ELISA

- Coat ELISA plates with HSV and Vero antigens at a predetermined concentration in carbonate

buffer pH 9.6, 100 ul/well.

2.  Incubate overnight at 4 C.

3.  Discard and wash the plates thrice with PBST.

4.  Quench the plates with 1% skimmed milk powder in PBST, 150 ul/well.

5.  Incubate for 2hrs at 37 C.

6.  Discard, wash plates thrice with PBST.

7.  Add 100 ul/well sera, CSF appropriately diluted in PBST.  Include positive, negative

controls and blanks.

8.  Incubate for 2 hrs at 37 C.

9.  Discard, wash thrice with PBST.

10. 100 ul/well of goat/rabbit anti-human IgG peroxidase conjugate (Bangalore Genei)

(dilution to be used: 1:2000 in PBST with 1% normal goat serum)

11. Incubate for 2 hrs at 37 C.

12. Discard, wash thrice with PBST.

13. Add 100 ul/well of a solution containing OPD (4mg/10ml of PCB, pH 5) with 10 ul

of H2O2.

14. Incubate in the DARK at room temperature for 20 minutes

15. Stop the reaction with 50 ul/well of 4N H2SO4.

16. Read the plate at 492 nm on an ELISA reader.

17. A sample is considered positive if the difference in OD values is >0.1 between the

HSV antigen and Vero antigen at that particular dilution. Antigen is considered

significant at that dilution.

DETECTION OF IgG ANTIBODIES TO MEASLES VIRUS  BY ELISA

- Coat ELISA plates (100 ul /well) with measles virus antigen and Vero antigen at a

predetermined concentration in carbonate buffer pH 9.6

- Incubate overnight at 4C.

- Discard contents of the wells and wash thrice with PBST.

- Quench with 1% skimmed milk powder in PBST (150 ul/well). Incubate at 37C for 2 hrs.

- Discard and wash thrice with PBST.

- Add the required dilutions of  CSF/Serum samples (100 ul/well) and incubate at 37 C for 2 hrs. Include positive , negative controls and blanks.

- Discard and wash thrice with PBST.

- Add 100 ul/well of rabbit anti-human IgG peroxidase conjugate (Bangalore Genei) diluted 1:2000 in PBST with 1% normal goat serum and incubate for 2 hrs. at 37 C.

- Discard and wash thrice with PBST.

- Add 100 ul/well of a solution containing OPD (4mg/10ml of PCB,pH5) and 10 ul of H2O2.  Incubate at RT for 20 mins in the dark.

- Stop the reaction with 50 ul/well of 4N H2SO4.

- Read the results at 492 nm on an ELISA reader.

- A sample is considered positive if the difference in OD values is > 0.1 between the measles virus antigen and Vero antigen at any given dilution.

DETECTION OF IgM ANTIBODIES TO JEV BY AN IGM ANTIBODY CAPTURE ELISA (MACELISA)

- Coat ELISA plates with 100 ul/well of a predetermined concentration of rabbit anti-human IgM antibodies (DAKOPATTS) in carbonate buffer pH 9.6.

- Incubate at 4 C overnight.

- Discard and wash with PBST thrice.

- Quench with 1% skimmed milk powder in PBST (150 ul/well). Incubate at 37C for 2 hrs

5.   Discard and wash thrice with PBST.

- Add 100 ul/well of CSF (diluted 1:100 in PBST) in duplicates. Incubate for 4hr at 37 C.

- Discard and wash with PBST thrice.

- Add 100 ul/well of JEV mouse brain antigen (50HA units/100 ul diluted in PBS). Incubate at 4 C overnight.

- Discard and wash with PBST thrice.

- Add  100ul/well of biotinylated NIV cross-reactive monoclonal antibody to JEV (25ul/10 ml of PBST containing 1% skimmed milk powder and 1% normal goat serum). Incubate at 37 C for 2 hr.

- Discard and wash with PBST thrice.

- Add 100 ul/well of streptavidin peroxidase conjugate (DAKOPATTS) diluted  1:5000 in PBST containing 1% normal growth serum. Incubate for 15 mins at RT.

- Add 100 ul/well of a solution containing OPD (4mg/10ml of PCB,pH5) and 10 ul of

H2O2. Incubate at RT for 20 mins in the dark.

14.  Stop the reaction with 50 ul/well of 4N H2SO4.

15.  Read the results at 492 nm on an ELISA reader.

- Appropriate high positive control, low positive control, negative control for CSF and serum as well as blanks should be included in every assay.

- The results are expressed as MACELISA units which is calculated using the following

formula :

ELISA units  =   (OD of test sample - OD of negative control)

---------------------------------------------------------    x  100

(OD of weak positive - OD of negative control)

Interpretation  of results is as follows :

- Any test sample with > 100 units  is considered positive for IgM antibodies to JEV.

- A sample with ELISA units between 30-99 is considered probably positive for IgM antibodies to JEV but requires further testing with Dengue and West Nile virus antigens as well as normal  mouse brain antigen to exclude false positive reactions.

- A sample with ELISA units < 30 is considered negative IgM antibodies to JEV.

IMMUNOASSAYS FOR THE DETECTION OF RETROVIRAL  ANTIBODIES

Western blot analysis for HTLV-1 proteins

- Preparation of Western blot strips : Use solubilized virus obtained from MT2 or HUT102 cells which has been purified and concentrated 1000 fold by sucrose gradient centrifugation .

- Polyacrylamide Gel Electrophoresis :

- Layer the 10% resolving gel and incubate for 15min. at RT with distilled water layered over it.

- After this removing the water  layer 4% stacking gel on to the resolving gel and insert combs into the stacking gel. Incubate at RT for 15 min.

- Remove the comb and flush the wells with distilled water.

- Carefully remove the clamps and mount the gel plates on to the Electrophoresis unit and add tank buffer into both lower and upper tanks. Ensure that the upper tank has sufficient buffer to cover the wells in the gel.

- Denature the protein sample (HTLV-1 antigen) in sample buffer by boiling for 3 min. in a water bath. Load 25 to 50 ul of this denatured sample into each of the wells carefully avoiding spills and air bubbles using a micro pipette.

- Run the gel in the constant voltage mode at a setting of 60 volts until the dye front reaches the bottom of the gel plate.

- Remove the gels carefully and use for transferring of proteins to nitrocellulose membranes by Western Blotting.

- Western Blotting :

- Transfer Electrophoresed gel to tray containing Western Blot buffer (20% methanol in 1x tris-glycine buffer which has been de-aerated for 15 min.)

- Place a pre-wetted nitrocellulose sheet, which has been cut to the same dimensions as the gel on the gel ensuring that there are no air bubbles trapped in between.

- Keep filter paper pads below the gel and above the nitrocellulose paper to make a sandwich.

- Place this sandwich in the appropriate clip and insert into the Electro blotting tank containing buffer.

- Ensure that the anode is towards the nitrocellulose membrane side while the cathode is towards the gel.

- The electroblotting is carried out using constant current mode at 150 MA for 2 hrs.

- Remove the nitrocellulose membrane (always handle gently using a forceps) and place in a tray containing 1% milk powder in PBS. Incubate at 4 C overnight.

- The nitrocellulose membrane is removed from the tray and carefully cut into thin strips. Store in a zip lock bag at 4 C for upto 1 month.

- Place thin strips in a Western Blot  immuno assay tray and wash with PBS using a rocking platform.

- Add 2.5 ml of 1:50 dilution of CSF or 1:100 dilution of serum prepared in PBS containing 1% skimmed milk powder.

- Incubate at room temperature on the rocking platform for 2 hrs. Wash  thrice with PBST on the rocking platform.

- Add 2.5 ml of appropriate dilution of anti-human IgG peroxidase conjugate prepared in PBST containing 1% milk powder and incubate on the rocking platform at RT for 2 hrs.

- Wash thrice with PBST on the rocking platform.

- Add 2ml of substrate solution (Diaminobenzidine 4 mg /10 ml of PBS and 10 ul of H2O2) and rock on the platform for 1 min. and keep the tray in the dark for 10 min. at room temperature.

- Stop the reaction by adding distilled water to each of the wells.

ELISA procedure for detection of anti HTLV-1 antibodies

- Use cell culture purified and concentrated virus solubilized virus for ELISA. The optimal

concentration should be pre-determined in a checkerboard  titration. Usually 5-10 ug/ml

of viral antigen gives best results.

- Coat plates with 100 ul of antigen diluted in 50 mM NaHCO3 buffer, pH 9.6 and incubate

at    4 C overnight.

- Discard contents and rinse thrice with PBS. Add 200 ul of 2.5% BSA solution in PBS

containing 1.25 % milk powder and 5% sucrose to each of the wells and incubate at 37

C for 2 hrs. Wash plates thrice with PBST.

- Add 100 ul of CSF/serum samples diluted five fold (1:5 to 1:625)  in PBST with 2% milk powder to the wells in the ELISA plate.

- Incubate at 37 C for 2 hrs. Wash plates thrice with PBST.

- Add 100 ul of goat anti-human IgG peroxidase conjugate (Bangalore Genei) diluted 1:1000 in PBST containing 1% normal goat serum. Incubate for 2hrs. at RT. Wash thrice in PBST.

- Add 100 ul of substrate (4 mg % of OPD in PCB with 0.005% H2O2) and incubate in the dark for 20 mins. at RT.

- Stop the reaction with 50 ul of 4N H2SO4.

- Measure the OD values at 492nm in an ELISA Reader.